## Exercise 1a
Description: A single aspirated temperature sensor reading in °C is taking measurements once a minute. For your analysis, you are using the minute readings for trending. The calibration certificate for the temperature sensor is provided. Find the expanded measurement uncertainty with a confidence level of 95% that includes repeatability and the calibration uncertainty components.
Example Application: Temperature sensor reading in °C
Food for Thought: How is repeatability acquired for this example?
Data:
Date | Time | Temperature (°C)
2016-10-10 | 1:00 | 26.1
| 1:01 | 26.1145
| 1:02 | 26.1215
| 1:03 | 26.1337
| 1:04 | 26.1172
| 1:05 | 26.146
| 1:06 | 26.151
| 1:07 | 26.1673
| 1:08 | 26.1905
| 1:09 | 26.176
| 1:10 | 26.1997

## Exercise 1b
Description: To better your uncertainty analysis from scenario 1a, you have acquired the manufacturer's quote for the aspirated shield's impact on temperature measurement accuracy is 0.02°C. Find the expanded measurement uncertainty with a confidence level of 95% for the minute measurements that includes repeatability, aspirated shield and the calibration uncertainty components.
Example Application: Temperature sensor reading in °C
Food for Thought: Notice the sensor's calibraiton certificate is almost up, what are some options to make the measurement traceable?
Data:
Date | Time | Temperature (°C)
2016-10-10 | 1:00 | 26.1
| 1:01 | 26.1145
| 1:02 | 26.1215
| 1:03 | 26.1337
| 1:04 | 26.1172
| 1:05 | 26.146
| 1:06 | 26.151
| 1:07 | 26.1673
| 1:08 | 26.1905
| 1:09 | 26.176
| 1:10 | 26.1997

## Exercise 1c
Description: A single aspirated temperature sensor reading in °C is taking measurements once every 10 seconds. For your analysis, you are using minute averages for trending. The calibration certificate for the sensor is provided below. Find the expanded measurement uncertainty with a confidence level of 95% that includes repeatability and the calibration uncertainty components.
Example Application: Temperature sensor reading in °C
Food for Thought: How could you further reduce uncecrtainty of these measurements?
Data:
Date | Time | Temperature (°C)
2016-10-10 | 1:00 | 26.105
| 1:00 | 26.103
| 1:00 | 26.093
| 1:01 | 26.104
| 1:01 | 26.091
| 1:01 | 26.104
| 1:01 | 26.114
| 1:01 | 26.101
| 1:01 | 26.122
| 1:02 | 26.122
| 1:02 | 26.116
| 1:02 | 26.112
| 1:02 | 26.127
| 1:02 | 26.107
| 1:02 | 26.13
| 1:03 | 26.114
| 1:03 | 26.141
| 1:03 | 26.11
| 1:03 | 26.13
| 1:03 | 26.132
| 1:03 | 26.135
| 1:04 | 26.145
| 1:04 | 26.127
| 1:04 | 26.133
| 1:04 | 26.104
| 1:04 | 26.123
| 1:04 | 26.111
| 1:05 | 26.128
| 1:05 | 26.117
| 1:05 | 26.12
| 1:05 | 26.149
| 1:05 | 26.158
| 1:05 | 26.142
| 1:06 | 26.13
| 1:06 | 26.147
| 1:06 | 26.15
| 1:06 | 26.152
| 1:06 | 26.153
| 1:06 | 26.143
| 1:07 | 26.159
| 1:07 | 26.152
| 1:07 | 26.147
| 1:07 | 26.169
| 1:07 | 26.169
| 1:07 | 26.162
| 1:08 | 26.161
| 1:08 | 26.162
| 1:08 | 26.181
| 1:08 | 26.193
| 1:08 | 26.188
| 1:08 | 26.172
| 1:09 | 26.205
| 1:09 | 26.185
| 1:09 | 26.2
| 1:09 | 26.174
| 1:09 | 26.19
| 1:09 | 26.175
| 1:10 | 26.175
| 1:10 | 26.174
| 1:10 | 26.168
| 1:10 | 26.195
| 1:10 | 26.202
| 1:10 | 26.197
| 1:11 | 26.205
| 1:11 | 26.207
| 1:11 | 26.192

## Exercise 1d
Description: A single aspirated temperature sensor reading in ohms is taking measurements once a second. For your analysis, you are using minute averages for trending. The calibration certificates for the sensor and data acquisition system (DAS) are provided below. Find the expanded measurement uncertainty with a confidence level of 95% for 1 minute of data that includes repeatability, DAS calibration and sensor calibration uncertainty components.
Example Application: Temperature sensor reading in ohm
Food for Thought: (1) How is the DAS uncertainty quoted in ohms transitioned to degrees C? (2) What other components could be affecting uncertainty in measurement?
Data:
Date | Time | Temperature (ohm)
2016-10-10 | 1:00 | 110.0855
| 1:00 | 110.0968
| 1:00 | 110.1233
| 1:00 | 110.1062
| 1:00 | 110.0991
| 1:00 | 110.1025
| 1:00 | 110.1111
| 1:00 | 110.1049
| 1:00 | 110.0955
| 1:00 | 110.0882
| 1:00 | 110.0923
| 1:00 | 110.1108
| 1:00 | 110.0872
| 1:00 | 110.0946
| 1:00 | 110.0959
| 1:00 | 110.1109
| 1:00 | 110.1072
| 1:00 | 110.0925
| 1:00 | 110.097
| 1:00 | 110.106
| 1:00 | 110.0906
| 1:00 | 110.0942
| 1:00 | 110.1005
| 1:00 | 110.0961
| 1:00 | 110.1062
| 1:00 | 110.0873
| 1:00 | 110.0946
| 1:00 | 110.0951
| 1:00 | 110.0854
| 1:00 | 110.093
| 1:00 | 110.0979
| 1:01 | 110.0989
| 1:01 | 110.0896
| 1:01 | 110.1069
| 1:01 | 110.1154
| 1:01 | 110.1022
| 1:01 | 110.1062
| 1:01 | 110.0895
| 1:01 | 110.1027
| 1:01 | 110.1003
| 1:01 | 110.0927
| 1:01 | 110.1044
| 1:01 | 110.0941
| 1:01 | 110.1171
| 1:01 | 110.0821
| 1:01 | 110.0948
| 1:01 | 110.0982
| 1:01 | 110.1028
| 1:01 | 110.1067
| 1:01 | 110.0956
| 1:01 | 110.0999
| 1:01 | 110.1156
| 1:01 | 110.1
| 1:01 | 110.0871
| 1:01 | 110.1145
| 1:01 | 110.1093
| 1:01 | 110.1148
| 1:01 | 110.0978
| 1:01 | 110.1146
| 1:01 | 110.1007

## Exercise 1e
Description: Your temperature sensor is out of calibration, but you have acquired a temperature sensor that has just recently been calibrated with the below calibration certificate. Find the new expanded measurement uncertainty with a confidence level of 95% for the sensor out of calibration.
Example Application: Temperature sensor reading in °C
Food for Thought: (1) Why is validation uncertainty combined differenty than measurement uncertainty? (2) What additional data would you want to collect? (3) What is another component of uncertainty that would be important to consider between calibration or validation cycles?
Data:
Date | Time | Out-of-Cal Sensor (°C) | Validation Sensor (°C)
2016-10-14 | 1:00 | 25.1788 | 25.1766
| 1:00 | 25.1785 | 25.1769
| 1:00 | 25.1783 | 25.1765
| 1:00 | 25.1787 | 25.1769
| 1:00 | 25.1783 | 25.1767
| 1:00 | 25.1779 | 25.1761
| 1:00 | 25.1775 | 25.1763
| 1:00 | 25.1773 | 25.1758
| 1:00 | 25.1768 | 25.1752
| 1:00 | 25.1764 | 25.1749
| 1:00 | 25.1763 | 25.1752
| 1:00 | 25.1763 | 25.1753
| 1:00 | 25.1759 | 25.1749
| 1:00 | 25.176 | 25.1751
| 1:00 | 25.1758 | 25.1748
| 1:00 | 25.1757 | 25.1747
| 1:00 | 25.1756 | 25.1748
| 1:00 | 25.1752 | 25.1752
| 1:00 | 25.1757 | 25.1748
| 1:00 | 25.1755 | 25.1746
| 1:00 | 25.1753 | 25.1748
| 1:00 | 25.1751 | 25.1741
| 1:00 | 25.1748 | 25.175
| 1:00 | 25.1751 | 25.175
| 1:00 | 25.1754 | 25.1752
| 1:00 | 25.1756 | 25.1752
| 1:00 | 25.1754 | 25.1752
| 1:00 | 25.1756 | 25.1751
| 1:00 | 25.1752 | 25.1747
| 1:00 | 25.1749 | 25.175
| 1:00 | 25.1752 | 25.1751
| 1:01 | 25.1752 | 25.1752
| 1:01 | 25.175 | 25.1748
| 1:01 | 25.175 | 25.1746
| 1:01 | 25.1747 | 25.1747
| 1:01 | 25.175 | 25.1746
| 1:01 | 25.1749 | 25.1743
| 1:01 | 25.1745 | 25.1745
| 1:01 | 25.1744 | 25.174
| 1:01 | 25.1743 | 25.1742
| 1:01 | 25.1741 | 25.1744
| 1:01 | 25.1736 | 25.1741
| 1:01 | 25.1736 | 25.174
| 1:01 | 25.1741 | 25.1745
| 1:01 | 25.1742 | 25.174
| 1:01 | 25.1737 | 25.1743
| 1:01 | 25.1741 | 25.1748
| 1:01 | 25.1745 | 25.1745
| 1:01 | 25.1742 | 25.1751
| 1:01 | 25.1743 | 25.1755
| 1:01 | 25.1745 | 25.1755
| 1:01 | 25.1749 | 25.1754
| 1:01 | 25.1747 | 25.1752
| 1:01 | 25.1746 | 25.1759
| 1:01 | 25.175 | 25.176
| 1:01 | 25.1751 | 25.1758
| 1:01 | 25.1756 | 25.1761
| 1:01 | 25.1754 | 25.1763
| 1:01 | 25.1756 | 25.1755
| 1:01 | 25.1755 | 25.176
| 1:01 | 25.1751 | 25.1759
| 1:01 | 25.1752 | 25.1763
| 1:01 | 25.1753 | 25.1762
| 1:01 | 25.1756 | 25.1768
| 1:01 | 25.1759 | 25.1763
| 1:01 | 25.1755 | 25.1766
| 1:01 | 25.1761 | 25.1767
| 1:01 | 25.1763 | 25.1769
| 1:01 | 25.1764 | 25.1774
| 1:01 | 25.1761 | 25.1771
| 1:01 | 25.1764 | 25.1775
| 1:01 | 25.1765 | 25.177
| 1:01 | 25.177 | 25.1776
| 1:01 | 25.1765 | 25.178
| 1:01 | 25.1767 | 25.1775
| 1:01 | 25.177 | 25.1774
| 1:01 | 25.1761 | 25.1775
| 1:01 | 25.1761 | 25.178
| 1:01 | 25.1764 | 25.1774
| 1:01 | 25.1766 | 25.1773
| 1:01 | 25.1769 | 25.178
| 1:01 | 25.177 | 25.1779
| 1:01 | 25.1769 | 25.1781
| 1:01 | 25.1771 | 25.1786
| 1:01 | 25.1777 | 25.1787
| 1:01 | 25.1777 | 25.179
| 1:01 | 25.1778 | 25.1794
| 1:01 | 25.1783 | 25.1794
| 1:01 | 25.1786 | 25.1795
| 1:01 | 25.179 | 25.18
| 1:01 | 25.1791 | 25.1799
| 1:02 | 25.1788 | 25.1804
| 1:02 | 25.1795 | 25.1808
| 1:02 | 25.1798 | 25.1808
| 1:02 | 25.1797 | 25.1815
| 1:02 | 25.1796 | 25.1813
| 1:02 | 25.1807 | 25.1815
| 1:02 | 25.1804 | 25.1818
| 1:02 | 25.1809 | 25.1822
| 1:02 | 25.1808 | 25.1822
| 1:02 | 25.1812 | 25.1829
| 1:02 | 25.1818 | 25.1831
| 1:02 | 25.1816 | 25.1831
| 1:02 | 25.1816 | 25.1833
| 1:02 | 25.1815 | 25.183
| 1:02 | 25.182 | 25.1827
| 1:02 | 25.1821 | 25.1831
| 1:02 | 25.1816 | 25.1834
| 1:02 | 25.1818 | 25.1833
| 1:02 | 25.1824 | 25.1835
| 1:02 | 25.1827 | 25.1836
| 1:02 | 25.1822 | 25.1838
| 1:02 | 25.1823 | 25.1836
| 1:02 | 25.1826 | 25.1842
| 1:02 | 25.1825 | 25.1845
| 1:02 | 25.1827 | 25.1842
| 1:02 | 25.1829 | 25.1841
| 1:02 | 25.1827 | 25.1837
| 1:02 | 25.1823 | 25.184
| 1:02 | 25.1826 | 25.1841
| 1:02 | 25.1827 | 25.1843
| 1:02 | 25.1825 | 25.1836
| 1:02 | 25.1823 | 25.1836
| 1:02 | 25.1823 | 25.1838
| 1:02 | 25.1819 | 25.1839
| 1:02 | 25.182 | 25.1832
| 1:02 | 25.1818 | 25.1835
| 1:02 | 25.1818 | 25.1835
| 1:02 | 25.1815 | 25.1831
| 1:02 | 25.1823 | 25.1837
| 1:02 | 25.1822 | 25.1841
| 1:02 | 25.182 | 25.1836
| 1:02 | 25.1823 | 25.1836
| 1:02 | 25.1826 | 25.1834
| 1:02 | 25.1824 | 25.1836
| 1:02 | 25.1826 | 25.1837
| 1:02 | 25.1824 | 25.1839
| 1:02 | 25.1823 | 25.1839
| 1:02 | 25.1824 | 25.1838
| 1:02 | 25.1819 | 25.1838
| 1:02 | 25.1822 | 25.184
| 1:02 | 25.1825 | 25.1841
| 1:02 | 25.1824 | 25.1841
| 1:02 | 25.183 | 25.1845
| 1:02 | 25.1825 | 25.1845
| 1:02 | 25.1827 | 25.1848
| 1:02 | 25.1832 | 25.1846
| 1:02 | 25.1832 | 25.1848
| 1:02 | 25.1835 | 25.185
| 1:02 | 25.1832 | 25.1846
| 1:02 | 25.1832 | 25.1846
| 1:03 | 25.1836 | 25.1846
| 1:03 | 25.1833 | 25.1843
| 1:03 | 25.1827 | 25.1851
| 1:03 | 25.183 | 25.1847
| 1:03 | 25.1827 | 25.1844
| 1:03 | 25.1827 | 25.1847
| 1:03 | 25.1829 | 25.1844
| 1:03 | 25.1829 | 25.1844
| 1:03 | 25.1832 | 25.1843
| 1:03 | 25.1831 | 25.1842
| 1:03 | 25.1832 | 25.1843
| 1:03 | 25.1827 | 25.1841
| 1:03 | 25.1832 | 25.1846
| 1:03 | 25.1826 | 25.1838
| 1:03 | 25.1827 | 25.1837
| 1:03 | 25.1827 | 25.1841
| 1:03 | 25.1826 | 25.184
| 1:03 | 25.1821 | 25.184
| 1:03 | 25.1822 | 25.1841
| 1:03 | 25.1826 | 25.1839
| 1:03 | 25.1822 | 25.1838
| 1:03 | 25.1824 | 25.1839
| 1:03 | 25.1825 | 25.1844
| 1:03 | 25.1821 | 25.184
| 1:03 | 25.1823 | 25.1841
| 1:03 | 25.1826 | 25.1843
| 1:03 | 25.1824 | 25.1844
| 1:03 | 25.1824 | 25.1842
| 1:03 | 25.1821 | 25.1839
| 1:03 | 25.1822 | 25.1838
| 1:03 | 25.1819 | 25.1837
| 1:03 | 25.1825 | 25.1836
| 1:03 | 25.1819 | 25.1834
| 1:03 | 25.1821 | 25.1837
| 1:03 | 25.1822 | 25.1841
| 1:03 | 25.1818 | 25.1838
| 1:03 | 25.1824 | 25.1841
| 1:03 | 25.1818 | 25.184
| 1:03 | 25.1823 | 25.1842
| 1:03 | 25.1819 | 25.1836
| 1:03 | 25.1818 | 25.1838
| 1:03 | 25.1825 | 25.1836
| 1:03 | 25.1819 | 25.1833
| 1:03 | 25.1814 | 25.1828
| 1:03 | 25.1815 | 25.183
| 1:03 | 25.1811 | 25.1826
| 1:03 | 25.1811 | 25.1823
| 1:03 | 25.1809 | 25.1824
| 1:03 | 25.1807 | 25.1821
| 1:03 | 25.1801 | 25.1817
| 1:03 | 25.18 | 25.1818
| 1:03 | 25.1799 | 25.1815
| 1:03 | 25.1801 | 25.1813
| 1:03 | 25.1801 | 25.1818
| 1:03 | 25.1795 | 25.1815
| 1:03 | 25.1797 | 25.1819
| 1:03 | 25.1799 | 25.1819
| 1:03 | 25.1805 | 25.1819
| 1:03 | 25.1801 | 25.1821
| 1:03 | 25.1809 | 25.183
| 1:04 | 25.1805 | 25.1826
| 1:04 | 25.1813 | 25.183
| 1:04 | 25.1812 | 25.183
| 1:04 | 25.1816 | 25.1835
| 1:04 | 25.1819 | 25.1835
| 1:04 | 25.1815 | 25.1834
| 1:04 | 25.1816 | 25.1835
| 1:04 | 25.1818 | 25.1838
| 1:04 | 25.1818 | 25.1839
| 1:04 | 25.1821 | 25.1838
| 1:04 | 25.1821 | 25.1844
| 1:04 | 25.1824 | 25.1843
| 1:04 | 25.1826 | 25.1841
| 1:04 | 25.1823 | 25.1846
| 1:04 | 25.1828 | 25.1854
| 1:04 | 25.1826 | 25.1844
| 1:04 | 25.1826 | 25.1848
| 1:04 | 25.1829 | 25.1844
| 1:04 | 25.183 | 25.1853
| 1:04 | 25.1838 | 25.186
| 1:04 | 25.1843 | 25.1867
| 1:04 | 25.1857 | 25.1878
| 1:04 | 25.1864 | 25.1897
| 1:04 | 25.1878 | 25.19
| 1:04 | 25.1883 | 25.1908
| 1:04 | 25.1892 | 25.1915
| 1:04 | 25.1897 | 25.1926
| 1:04 | 25.1905 | 25.1932
| 1:04 | 25.1912 | 25.1937
| 1:04 | 25.1914 | 25.194
| 1:04 | 25.1921 | 25.1942
| 1:04 | 25.1919 | 25.1934
| 1:04 | 25.1914 | 25.1936
| 1:04 | 25.1917 | 25.1932
| 1:04 | 25.191 | 25.1929
| 1:04 | 25.1908 | 25.1925
| 1:04 | 25.1906 | 25.192
| 1:04 | 25.1901 | 25.1917
| 1:04 | 25.1897 | 25.1918
| 1:04 | 25.1895 | 25.1911
| 1:04 | 25.1892 | 25.1906
| 1:04 | 25.1884 | 25.1906
| 1:04 | 25.1882 | 25.1899
| 1:04 | 25.1876 | 25.1893
| 1:04 | 25.1874 | 25.1892
| 1:04 | 25.1872 | 25.1884
| 1:04 | 25.1866 | 25.1877
| 1:04 | 25.1861 | 25.1876
| 1:04 | 25.1857 | 25.187
| 1:04 | 25.1852 | 25.1867
| 1:04 | 25.1849 | 25.1854
| 1:04 | 25.184 | 25.1852
| 1:04 | 25.183 | 25.185
| 1:04 | 25.1829 | 25.1844
| 1:04 | 25.1825 | 25.185
| 1:04 | 25.1828 | 25.184
| 1:04 | 25.1826 | 25.1844
| 1:04 | 25.1827 | 25.1845
| 1:04 | 25.1832 | 25.1845
| 1:04 | 25.1829 | 25.1841
| 1:05 | 25.1828 | 25.1844
| 1:05 | 25.1828 | 25.184
| 1:05 | 25.1823 | 25.1837
| 1:05 | 25.1819 | 25.1832
| 1:05 | 25.1813 | 25.1824
| 1:05 | 25.1812 | 25.1822
| 1:05 | 25.1806 | 25.182
| 1:05 | 25.1795 | 25.181
| 1:05 | 25.1792 | 25.1803
| 1:05 | 25.1783 | 25.1795
| 1:05 | 25.1776 | 25.1788
| 1:05 | 25.1777 | 25.1786
| 1:05 | 25.1771 | 25.1786
| 1:05 | 25.1766 | 25.1781
| 1:05 | 25.1762 | 25.1784
| 1:05 | 25.1762 | 25.178
| 1:05 | 25.1763 | 25.1785
| 1:05 | 25.1766 | 25.1778
| 1:05 | 25.1759 | 25.1779
| 1:05 | 25.1762 | 25.1783
| 1:05 | 25.1762 | 25.1787
| 1:05 | 25.1765 | 25.1783
| 1:05 | 25.1766 | 25.1787
| 1:05 | 25.1766 | 25.1792
| 1:05 | 25.1771 | 25.1793
| 1:05 | 25.1773 | 25.179
| 1:05 | 25.1776 | 25.1794
| 1:05 | 25.1775 | 25.1791
| 1:05 | 25.1772 | 25.1793

## Exercise 2a
Description: Blank filters are weighed on a scale. The scientist wants to use an average of the last 80 filters as the blank reading for all filters of the same type (same manufacturer and part number). The scale's calibration certificate is provided below. What is the expanded measurement uncertainty with a confidence level of 95% for using an average blank value?
Example Application: Total Suspended Particle collection filters.
Food for Thought: (1) Do you use standard deviation or standard error for this analysis? (2) What additional information might you need to ensure this is a proper analysis?
Data:
Date | Filter Pre-weight (mg)
2015-03-01 | 135.45
2015-03-07 | 136.3049
2015-03-13 | 135.7995
2015-03-19 | 135.4888
2015-03-25 | 135.3573
2015-03-31 | 135.4784
2015-04-06 | 135.5135
2015-04-12 | 135.5215
2015-04-18 | 135.1755
2015-04-24 | 135.0218
2015-04-30 | 135.2287
2015-05-06 | 135.4849
2015-05-12 | 135.792
2015-05-18 | 134.9838
2015-05-24 | 135.5607
2015-05-30 | 135.65
2015-06-05 | 135.8347
2015-06-11 | 135.5308
2015-06-17 | 135.5665
2015-06-23 | 135.3603
2015-06-29 | 136.1732
2015-07-05 | 135.6407
2015-07-11 | 135.6118
2015-07-17 | 135.8227
2015-07-23 | 135.4522
2015-07-29 | 135.3028
2015-08-04 | 135.3277
2015-08-10 | 135.7973
2015-08-16 | 135.6123
2015-08-22 | 135.3364
2015-08-28 | 135.2869
2015-09-03 | 135.8288
2015-09-09 | 135.4157
2015-09-15 | 135.8036
2015-09-21 | 135.7351
2015-09-27 | 135.4009
2015-10-03 | 135.6633
2015-10-09 | 135.1611
2015-10-15 | 135.6099
2015-10-21 | 135.4695
2015-10-27 | 135.1065
2015-11-02 | 135.7834
2015-11-08 | 135.3693
2015-11-14 | 135.7481
2015-11-20 | 135.1147
2015-11-26 | 135.5721
2015-12-02 | 135.5737
2015-12-08 | 135.4232
2015-12-14 | 135.5323
2015-12-20 | 135.848
2015-12-26 | 135.3074
2016-01-01 | 135.5799
2016-01-07 | 135.338
2016-01-13 | 135.9204
2016-01-19 | 135.3368
2016-01-25 | 135.5622
2016-01-31 | 135.6835
2016-02-06 | 135.4802
2016-02-12 | 135.8103
2016-02-18 | 135.7168
2016-02-24 | 135.558
2016-03-01 | 135.3512
2016-03-07 | 135.449
2016-03-13 | 135.483
2016-03-19 | 135.3704
2016-03-25 | 135.9062
2016-03-31 | 135.2178
2016-04-06 | 135.3024
2016-04-12 | 135.381
2016-04-18 | 135.4394
2016-04-24 | 135.7064
2016-04-30 | 135.8525
2016-05-06 | 135.6559
2016-05-12 | 135.1548
2016-05-18 | 135.3512
2016-05-24 | 135.8562
2016-05-30 | 135.4316
2016-06-05 | 135.8512
2016-06-11 | 135.6148
2016-06-17 | 135.4016

## Exercise 2b
Description: Blank filters are weighed on a scale. The scientist wants to use an average of the last 80 filters as the blank reading for all filters of the same type (same manufacturer and part number). The scale's calibration certificate is provided below. What is the estimated expanded RELATIVE uncertainty with a 95% confidence level for using an average blank value?
Example Application: Total Suspended Particle collection filters.
Food for Thought: (1) What is wrong with this uncertainty analysis? (2) How could you compute uncertainty for the calibration if the expanded uncertainty was not provided?
Data:
Date | Filter Pre-weight (mg)
2015-03-01 | 135.45
2015-03-07 | 136.3049
2015-03-13 | 135.7995
2015-03-19 | 135.4888
2015-03-25 | 135.3573
2015-03-31 | 135.4784
2015-04-06 | 135.5135
2015-04-12 | 135.5215
2015-04-18 | 135.1755
2015-04-24 | 135.0218
2015-04-30 | 135.2287
2015-05-06 | 135.4849
2015-05-12 | 135.792
2015-05-18 | 134.9838
2015-05-24 | 135.5607
2015-05-30 | 135.65
2015-06-05 | 135.8347
2015-06-11 | 135.5308
2015-06-17 | 135.5665
2015-06-23 | 135.3603
2015-06-29 | 136.1732
2015-07-05 | 135.6407
2015-07-11 | 135.6118
2015-07-17 | 135.8227
2015-07-23 | 135.4522
2015-07-29 | 135.3028
2015-08-04 | 135.3277
2015-08-10 | 135.7973
2015-08-16 | 135.6123
2015-08-22 | 135.3364
2015-08-28 | 135.2869
2015-09-03 | 135.8288
2015-09-09 | 135.4157
2015-09-15 | 135.8036
2015-09-21 | 135.7351
2015-09-27 | 135.4009
2015-10-03 | 135.6633
2015-10-09 | 135.1611
2015-10-15 | 135.6099
2015-10-21 | 135.4695
2015-10-27 | 135.1065
2015-11-02 | 135.7834
2015-11-08 | 135.3693
2015-11-14 | 135.7481
2015-11-20 | 135.1147
2015-11-26 | 135.5721
2015-12-02 | 135.5737
2015-12-08 | 135.4232
2015-12-14 | 135.5323
2015-12-20 | 135.848
2015-12-26 | 135.3074
2016-01-01 | 135.5799
2016-01-07 | 135.338
2016-01-13 | 135.9204
2016-01-19 | 135.3368
2016-01-25 | 135.5622
2016-01-31 | 135.6835
2016-02-06 | 135.4802
2016-02-12 | 135.8103
2016-02-18 | 135.7168
2016-02-24 | 135.558
2016-03-01 | 135.3512
2016-03-07 | 135.449
2016-03-13 | 135.483
2016-03-19 | 135.3704
2016-03-25 | 135.9062
2016-03-31 | 135.2178
2016-04-06 | 135.3024
2016-04-12 | 135.381
2016-04-18 | 135.4394
2016-04-24 | 135.7064
2016-04-30 | 135.8525
2016-05-06 | 135.6559
2016-05-12 | 135.1548
2016-05-18 | 135.3512
2016-05-24 | 135.8562
2016-05-30 | 135.4316
2016-06-05 | 135.8512
2016-06-11 | 135.6148
2016-06-17 | 135.4016

## Exercise 2c
Description: Blank filters are weighed on a scale. The scientist wants to use an average of the last 80 filters as the blank reading for all filters of the same type (same manufacturer and part number). The scientist knows there was a new lot opened when they initiated research on March 1, 2015 and there are 10 filters per lot. The scale's calibration certificate is provided below. What is the expanded measurement uncertainty with a confidence level of 95% for using an average blank value?
Example Application: Total Suspended Particle collection filters.
Food for Thought: (1) What is wrong with this uncertainty analysis? Hint: Check the distribution. (2) Can the scientist use the average approach in this case?
Data:
Date | Filter Pre-weight (mg)
2015-03-01 | 135.1632 | *New lot
2015-03-07 | 135.0692
2015-03-13 | 135.1123
2015-03-19 | 135.2624
2015-03-25 | 135.0345
2015-03-31 | 135.1475
2015-04-06 | 134.9215
2015-04-12 | 135.1761
2015-04-18 | 135.1892
2015-04-24 | 135.1752
2015-04-30 | 135.3038
2015-05-06 | 135.3566
2015-05-12 | 135.1603
2015-05-18 | 135.078
2015-05-24 | 135.18
2015-05-30 | 135.0365
2015-06-05 | 135.1706
2015-06-11 | 135.2884
2015-06-17 | 135.3284
2015-06-23 | 135.2644
2015-06-29 | 135.3803
2015-07-05 | 135.3754
2015-07-11 | 135.4352
2015-07-17 | 135.6302
2015-07-23 | 135.1825
2015-07-29 | 135.3576
2015-08-04 | 135.3909
2015-08-10 | 135.4013
2015-08-16 | 135.4958
2015-08-22 | 135.4197
2015-08-28 | 135.2755
2015-09-03 | 135.506
2015-09-09 | 135.5438
2015-09-15 | 135.4825
2015-09-21 | 135.6096
2015-09-27 | 135.4635
2015-10-03 | 135.2128
2015-10-09 | 135.3872
2015-10-15 | 135.5019
2015-10-21 | 135.5808
2015-10-27 | 135.5144
2015-11-02 | 135.5974
2015-11-08 | 135.6012
2015-11-14 | 135.5755
2015-11-20 | 135.5927
2015-11-26 | 135.4522
2015-12-02 | 135.4898
2015-12-08 | 135.5492
2015-12-14 | 135.4051
2015-12-20 | 135.6911
2015-12-26 | 135.5035
2016-01-01 | 135.6385
2016-01-07 | 135.6247
2016-01-13 | 135.4605
2016-01-19 | 135.6682
2016-01-25 | 135.5189
2016-01-31 | 135.255
2016-02-06 | 135.6458
2016-02-12 | 135.4892
2016-02-18 | 135.5917
2016-02-24 | 135.8704
2016-03-01 | 135.7807
2016-03-07 | 135.9702
2016-03-13 | 135.8264
2016-03-19 | 135.675
2016-03-25 | 135.7543
2016-03-31 | 135.816
2016-04-06 | 135.7134
2016-04-12 | 135.7238
2016-04-18 | 135.7171
2016-04-24 | 135.7103
2016-04-30 | 135.7886
2016-05-06 | 135.8943
2016-05-12 | 135.9172
2016-05-18 | 135.9583
2016-05-24 | 135.9034
2016-05-30 | 135.9416
2016-06-05 | 135.8365
2016-06-11 | 135.8279
2016-06-17 | 135.8625

## Exercise 2d
Description: Blank filters are weighed on a scale. The scientist wants to use an average of the last 80 filters as the blank reading for all filters of the same type (same manufacturer and part number). The scale's calibration certificate is provided below. What is the expanded measurement uncertainty with a confidence level of 95% for using an average blank value?
Example Application: Total Suspended Particle collection filters.
Food for Thought: How can you rationalize taking a data point out of a data set?
Data:
Date | Filter Pre-weight (mg)
2015-03-01 | 135.45
2015-03-07 | 136.3049
2015-03-13 | 135.7995
2015-03-19 | 135.4888
2015-03-25 | 135.3573
2015-03-31 | 135.4784
2015-04-06 | 135.5135
2015-04-12 | 135.5215
2015-04-18 | 135.1755
2015-04-24 | 135.0218
2015-04-30 | 135.2287
2015-05-06 | 135.4849
2015-05-12 | 135.792
2015-05-18 | 134.9838
2015-05-24 | 135.5607
2015-05-30 | 135.65
2015-06-05 | 135.8347
2015-06-11 | 135.5308
2015-06-17 | 135.5665
2015-06-23 | 135.3603
2015-06-29 | 136.1732
2015-07-05 | 135.6407
2015-07-11 | 135.6118
2015-07-17 | 135.8227
2015-07-23 | 135.4522
2015-07-29 | 135.3028
2015-08-04 | 135.3277
2015-08-10 | 135.7973
2015-08-16 | 135.6123
2015-08-22 | 135.3364
2015-08-28 | 135.2869
2015-09-03 | 135.8288
2015-09-09 | 135.4157
2015-09-15 | 135.8036
2015-09-21 | 135.7351
2015-09-27 | 135.4009
2015-10-03 | 135.6633
2015-10-09 | 135.1611
2015-10-15 | 135.6099
2015-10-21 | 135.4695
2015-10-27 | 135.1065
2015-11-02 | 135.7834
2015-11-08 | 135.3693
2015-11-14 | 135.7481
2015-11-20 | 135.1147
2015-11-26 | 135.5721
2015-12-02 | 135.5737
2015-12-08 | 135.4232
2015-12-14 | 135.5323
2015-12-20 | 135.848
2015-12-26 | 135.3074
2016-01-01 | 135.5799
2016-01-07 | 135.338
2016-01-13 | 135.9204
2016-01-19 | 135.3368
2016-01-25 | 135.5622
2016-01-31 | 135.6835
2016-02-06 | 135.4802
2016-02-12 | 135.8103
2016-02-18 | 135.7168
2016-02-24 | 135.558
2016-03-01 | 135.3512
2016-03-07 | 135.449
2016-03-13 | 135.483
2016-03-19 | 135.3704
2016-03-25 | 135.9062
2016-03-31 | 135.2178
2016-04-06 | 135.3024
2016-04-12 | 135.381
2016-04-18 | 135.4394
2016-04-24 | 135.7064
2016-04-30 | 135.8525
2016-05-06 | 135.6559
2016-05-12 | 135.1548
2016-05-18 | 135.3512
2016-05-24 | 135.8562
2016-05-30 | 135.4316
2016-06-05 | 135.8512
2016-06-11 | 135.6148
2016-06-17 | 135.4016

## Exercise 2e
Description: The scientist was happy with this analysis from scenario 2a and utilizes the average as his blank reading for the collection on July 26, 2016. Below is his final weight. What is the expanded measurement uncertainty with a confidence level of 95% of the dust weight?
Example Application: Total Suspended Particle collection filters.
Food for Thought: How could you reduce the uncertainty of the measurement?
Measurement Equation:
Y = dust weight
X2 = final filter weight
Data:
Date | Weigh number | Post-filter weight (mg)
2016-07-26 | 1 | 138.9665
| 2 | 138.9645
| 3 | 138.966
| 4 | 138.9654
| 5 | 138.9647
| 6 | 138.9641
| 7 | 138.9652
| 8 | 138.964
| 9 | 138.9656
| 10 | 138.9652
𝑌=𝑋_2−(𝑋_1 ) ̅
= estimated initial filter weight
(𝑋_1 ) ̅= estimated initial filter weight

## Exercise 2f
Description: The scientist decided to do a comparison in uncertainty analysis between using an average estimate for the blank reading and using the average of the actual blank filter for the collection on July 26, 2016. Below includes both pre and post-field weights. What is the expanded measurement uncertainty with a confidence level of 95% of the dust weight?
Example Application: Total Suspended Particle collection filters.
Food for Thought: Compare results from 2a and 2b. Is the lowest uncertainty always the best practice?
Measurement Equation:
Y = dust weight
X2 = final filter weight
Data:
Date | Weigh number | Pre-filter weight (mg) | Date | Weigh number | Post-filter weight (mg)
2016-07-20 | 1 | 135.433 | 2016-07-26 | 1 | 138.9665
| 2 | 135.4319 |  | 2 | 138.9645
| 3 | 135.4316 |  | 3 | 138.966
| 4 | 135.4322 |  | 4 | 138.9654
| 5 | 135.4314 |  | 5 | 138.9647
| 6 | 135.4305 |  | 6 | 138.9641
| 7 | 135.4306 |  | 7 | 138.9652
| 8 | 135.4323 |  | 8 | 138.964
| 9 | 135.4332 |  | 9 | 138.9656
| 10 | 135.4318 |  | 10 | 138.9652
𝑌=𝑋_2−(𝑋_1 ) ̅
= estimated initial filter weight
(𝑋_1 ) ̅= estimated initial filter weight